Safety Audit Checklist

| Performed by: | Date: |  |
| --- | --- | --- |
| Emergency equipment is free from obstruction (3’ clearance required). |  | ☐ Yes ☐ No ☐ N/A |
| GFCI’s are used near the presence of water/fluid. |  | ☐ Yes ☐ No ☐ N/A |
| Extension cords are used only for temporary applications (~30 days). |  | ☐ Yes ☐ No ☐ N/A |
| Covers are in place on all outlets. |  | ☐ Yes ☐ No ☐ N/A |
| Knock outs are in place on all fuse boxes. |  | ☐ Yes ☐ No ☐ N/A |
| All exits are marked, lit, and unblocked. |  | ☐ Yes ☐ No ☐ N/A |
| Emergency lights are in working order (press to test). |  | ☐ Yes ☐ No ☐ N/A |
| Loading docks are equipped with a dock lock or dock leveler. |  | ☐ Yes ☐ No ☐ N/A |
| All equipment, including racking, is bolted to the floor. |  | ☐ Yes ☐ No ☐ N/A |
| Racking is loaded within the maximum permitted load weight. |  | ☐ Yes ☐ No ☐ N/A |
| Inventory is placed on secure pallets within the racking’s rated load limit. |  | ☐ Yes ☐ No ☐ N/A |
| Lockout procedure is posted nearby hazardous energy sources. |  | ☐ Yes ☐ No ☐ N/A |
| Items stored outside are covered or protected from stormwater runoff. |  | ☐ Yes ☐ No ☐ N/A |
| Fire extinguishers are inspected and documented on a monthly basis. |  | ☐ Yes ☐ No ☐ N/A |
| Eyewash stations and showers are inspected and documented weekly. |  | ☐ Yes ☐ No ☐ N/A |
| Forklift inspections (prior to use) are documented for the month. |  | ☐ Yes ☐ No ☐ N/A |
| Hoists, chain falls, and A-frames are inspected and documented monthly. |  | ☐ Yes ☐ No ☐ N/A |
| Used chemical containers are disposed of in a designated location. |  | ☐ Yes ☐ No ☐ N/A |
| Waste aerosol cans are collected for disposal (max. of 220 lbs. onsite). |  | ☐ Yes ☐ No ☐ N/A |
| Chemical and waste containers are closed when not in use. |  | ☐ Yes ☐ No ☐ N/A |
| Are “Used Oil” labels on all containers containing waste oil. |  | ☐ Yes ☐ No ☐ N/A |
| All chemicals have either a manufacturer label or HMIS label. |  | ☐ Yes ☐ No ☐ N/A |
| There are material safety data sheets available for all chemicals onsite. |  | ☐ Yes ☐ No ☐ N/A |
| Compressed gases are stored with the regulators off and valve caps on. |  | ☐ Yes ☐ No ☐ N/A |
| Flammable gas and oxygen cylinders are stored when not in use. |  | ☐ Yes ☐ No ☐ N/A |
| Flammable gas and oxygen cylinders are separated by at least 20 ft or a fire wall at least 5 ft high with a fire protection time of at least 30 minutes. |  | ☐ Yes ☐ No ☐ N/A |
| Chocks are in place at docks and/or dock locks are available. |  | ☐ Yes ☐ No ☐ N/A |
| Notes from last month’s safety meeting are complete and logged. |  | ☐ Yes ☐ No ☐ N/A |
| All contractors are in compliance with regulatory training requirements. |  | ☐ Yes ☐ No ☐ N/A |
| Within the past year, an emergency drill was performed and documented. |  | ☐ Yes ☐ No ☐ N/A |
| There are evacuation maps posted in every department or office. |  | ☐ Yes ☐ No ☐ N/A |
| Spill kits are fully stocked with the appropriate cleanup materials |  | ☐ Yes ☐ No ☐ N/A |